- How variable is the spectrum (Hz vs SPL, for a single RMS voltage) for a standard microphone position in the testing cage, when all equipment is present in the booth?

Don’t have replicated trials with equipment in room, at single voltage.

Do have replicated, single voltage trials in empty room:

rig1012_Ceiling_A_PureToneCal_a_Dec222015.cal

vs.

rig1012_ Ceiling_A_PureToneCal_x_Dec222015.cal

equipment carried in then moved out; caveat is that many calibration runs were presented in between.

Compare to b, c, d for consecutive trials, i.e. best case scenario.

Do have replicated, single voltage trials with equipment in room; consecutive, disturbed things a bit but did not fully remove and replace equipment (i.e. best case scenario; error mainly from calibration measurement procedure):

rig1012_ Ceiling_A_PureToneCal_l_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_m_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_n_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_o_Dec222015.cal

and

rig1012_Ceiling_A_Test_l_Cal_l_Dec222015.cal

equipment was removed and replaced, setup replicated; but used corrected voltage.

- How variable is the spectrum for a range of positions in the testing cage?

rig1012_ Ceiling_A_PureToneCal_o_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_p_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_q_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_r_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_s_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_t_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_u_Dec222015.cal

full range:

rig1012_ Ceiling_A_PureToneCal_v_Dec222015.cal

rig1012_ Ceiling_A_PureToneCal_w_Dec222015.cal

- How does our equipment influence this spectrum?

rig1012_ Ceiling_A_PureToneCal_w_Dec222015.cal (without equipment)

vs

rig1012_ Ceiling_A_PureToneCal_x_Dec222015.cal (with equipment)

- What is the SPL range across which the system is linear?

Set test level to 0 dB SPL. None saved.

For each calibration file, which calibration configuration produces the most similar frequency response curves (with correction applied) across many test configurations?

Cal a:  bare room, vertical mic

Cal l: all equipment, vertical mic orientation

Cal p: mic angle -45° from vertical, 330° NW

cal r: mic angle -90° from vertical, 285° NW